International Journal ofApplied Power Engineering (IJAPE)
Vol.xx, No.xx, Month 20xx, pp. xx~xx

ISSN: 2252-8792
(
93
[image: image27.emf]


100

(

ISSN:2252-8792
99
IJAPE
ISSN: 2252-8792
(

Comparison  Study Between Seven-Level SVM and Two-Level SVM Strategy in Direct Vector Control of a DFIG-Based Wind Energy Conversion Systems
Habib BENBOUHENNI
Electrical Engineering Department, National Polytechnique School of Oran Maurice Audin, Oran, Algeria
	Article Info
	
	ABSTRACT

	Article history:

Received Jun 9, 2016

Revised Nov 20, 2016

Accepted Dec 11, 2016


	
	In this paper, we present a comparative study between two-level space vector modulation (SVM) and seven-level SVM strategy in direct vector control (DVC) of a doubly fed induction generator (DFIG) based wind energy conversion systems (WECSs). The feasibility and effectiveness of the two strategies are demonstrated by simulation results. The obtained results showed that, the proposed DVC strategy with Seven-level SVM technique have stator and rotor current with low harmonic distortion and low active and reactive powers ripples than two-level SVM strategy. 

	Keywords:

DVC

DFIG
WECSs

Seven-level SVM
Tow-level SVM

	
	

	
	
	Copyright © 2019 Institute of Advanced Engineering and Science. 
All rights reserved.

	Corresponding Author:

Habib BENBOUHENNI, 

Department of Electrical Engineering,

National Polytechnique School of Oran Maurice Audin, Oran, Algeria.
Email: habib0264@gmail.com 


1. INTRODUCTION 
Traditionally, DVC strategy with proportional-integral (PI) regulators is the usual strategy employed currently for WECSs based on DFIG [1]. This strategy presents a good decoupling between the two currents axes (d and q), therefore the model of the DFIG becomes simple and PI regulators can be employed. However, this strategy of control is highly depends on the accuracy of the machine parameters, employs divers loops and needs a big regulation strength in order to ensures stability during the whole speed      domain [2].

In multilevel inverter, many strategies such as selective harmonic elimination (SHE) [3], pulse width modulation (PWM) [4], SVM strategy [5], active harmonic elimination (AHE) [6] have been used for modulation control. Since SVM strategy have been widely used for control AC machine this technique based on the principles of space vectors and need to calculated of sector and angle [7]. On the other hand, this strategy gives 15% more voltage output compare to the classical PWM strategy [8]. Furthermore, it minimizes the harmonic distortion as well as loss due to minimize number of commutations in the inverter. Nevertheless, this strategy is difficult to implement.

In [9], the authors propose a new SVM strategy based on calculated the minimum (Min) and maximum (Max) of three-phase voltages. The proposed SVM strategy is simple and easy to implement compared to the classical SVM technique.  In [10], a three-level SVM strategy was proposed based on neural networks controller. Three-level SVM and fuzzy logic was combined to control the DFIG-based WECSs [11]. A SVM strategy was designed to control the four-level inverter [12]. In [13], a indirect vector control (IVC) and fuzzy SVM technique were combined to reduces the harmonic distortion of current. In [14], DVC strategy based on two-level fuzzy SVM technique to regulate stator reactive and active power of the DFIG. In this paper, a SVM strategy of the seven-level inverter is presented. The rotor side converter is controlled based on DVC control to regulate reactive and active powers. The DVC control with seven-level SVM strategy preserves the advantages of the conventional DVC such as fast response, less parameters dependence and reduces the reactive and active powers ripples.  
In this work, we apply the DVC control on the DFIG using seven-level SVM strategy compared to the two-level SVM strategy. 
2. MULTILEVEL SPACE VECTOR MODULATION  
The Flying capacitor (FC), Cascaded H-bridge (CH), Neutral-Point-Clamped (NPC) inverter are the three main different multilevel inverter structures which are used in industrial applications with separate dc sources [15]. The multilevel inverter has drawn large interest in high power industry. They present a latest set of aspects to facilitate and utilized in reactive power compensation. Traditional two-level inverter require six switches and two dc sources separately [16]. The main drawback in traditional two-level is that the harmonic distortion of current and voltage. In order to reduce harmonic distortion of voltage and current, the seven-level NPC inverter is proposed in this paper. A five-level inverter topology is presented in [17]. Multicarrier sinusoidal pulse width modulation based multilevel inverter is presented in [18]. The modulation strategy used in this paper is SVM strategy. The major drawback of this modulation strategy is its complex control method to control the multilevel inverter. A new SVM scheme for multilevel invereter presented [19], the proposed SVM scheme is simple modulation scheme and easy to implement compared to conventional SVM technique. This proposed technique based on calculating the minimum and maximum of three-phase voltages. The SVM strategy of the two-level inverter is shown in Figure 1. This paper presents a new SVM modulation scheme of seven-level NPC inverter. Figure 2 shows the SVM technique of seven-level NPC inverter. It is observed that the proposed strategy is simple control and easy to implement.

[image: image1.png]ve

Retay_t

@ ER)

Fent

05

Repesiing

EURIREIER)

Relay 2

Ferz

Relay 2

EUBIRRIER)

Ferz

Ven




Figure 1. Block diagram of the two-level SVM strategy.
2.DVC CONTROL SCHEME 
The DVC control is the simplest and most efficient way to drive and control the DFIG [21]. It simplifies the dynamic of the machine and makes the behavior similar to the one of a direct current (DC) machine. It will allow us to control the reactive and active powers independently.

This decoupling is obtained by pointing the d axe of the (d-q) frame on either the stator, rotor or gap fluxes for simplifying constraints, we choose the stator flux aligned to the direct stator flux, then we have [22, 23]:


[image: image2.wmf]0

and

   

   

=

=

qs

s

ds

y

y

y

                                                                                                                                                    (1)

[image: image3.wmf]î

í

ì

=

=

s

s

qs

ds

V

V

y

w

0

                                                                                                                                                                      (2)
where d,q is the index of the direct and quadrature axes.
[image: image4.png]Ve

Gain

Minhiaxt

05

e

CRRREIE)

EUERIRRIER)

0 1) s





 Figure 2. Block diagram of seven-level SVM strategy.
The stator flux orientation is shown in Figure 3:

 SHAPE  \* MERGEFORMAT 



Figure 3. Stator flux orientation

The expressions of stator current are defined by:


[image: image6.wmf]ï

ï

î

ï

ï

í

ì

-

=

+

-

=

qr

s

qs

s

s

dr

s

ds

I

L

M

I

L

I

L

M

I

y

                                                                                                                                                       (3)
And the reactive and active powers can be written as follows :


[image: image7.wmf]ï

ï

î

ï

ï

í

ì

÷

÷

ø

ö

ç

ç

è

æ

-

-

=

-

=

s

s

s

dr

s

s

s

s

qr

s

s

s

s

L

ψ

ω

I

L

M

ψ

ω

Q

I

L

M

ψ

ω

P

2

2

3

2

3

                                                                                                                    (4)

The electromagnetic torque can then be expressed by :

[image: image8.wmf]ds

qr

s

p

em

I

L

M

n

C

y

2

3

-

=

                                                                                                                                                    (5)
The rotor voltages can be expressed [24]:


[image: image9.wmf]ï

ï

î

ï

ï

í

ì

+

-

+

=

-

-

=

L

V

M

g

I

L

M

L

w

g

I

R

r

V

I

L

M

L

w

g

I

R

r

V

s

s

dr

s

r

s

qr

qr

qr

s

r

s

dr

dr

.

.

).

.(

.

.

).

.(

.

.

2

2

                                                                                           (6)
The DVC control with SVM strategy designed to control the DFIG is illustrated in Figure 4.

[image: image10]
Figure 4. DVC control of a DFIG using SVM strategy.
3. SIMULATION RESULTS
The  proposed DVC control with seven-level SVM strategy (DVC-7L-SVM) for DFIG application is designed and simulated in Matlab/Simulink software. The DFIG used in this work is a 1.5 MW, whose nominal parameters are indicated in the following:
Rated values: 1.5MW, 380/696V, 50Hz.

Rated parameters:p=2, Rs = 0.012Ω, Rr = 0.021Ω, Ls = 0.0137H, Lr = 0.0136H and Lm = 0.0135H,
J = 1000 kg.m2, fr = 0.0024 Nm.s/rad.
Simulation results of DVC-7L-SVM control of the DFIG are compared with DVC control with two-level SVM strategy.

The performance analysis is done with THD value, stator reactive power, stator active power and  electromagnetic torque, 
A. Reference tracking test (RTT)
Figures 5-9 show the obtained simulation results. As it’s shown in Figures 7-9, for the DVC-7L-SVM control and DVC-2L-SVM control, the active and reactive powers track almost perfectly their references values. Moreover, the DVC-7L-SVM control reduced the powers ripples and electromagnetic torque compared to the DVC-2L-SVM (See Figures 10-12). On the other hand, Figures 5-6 show the total harmonic distortion of stator current of the DFIG for proposed strategies. It can be clearly observed that the total harmonic distortion value is minimized for DVC-7L-SVM control (THD = 0.90%) when compared to DVC-2L-SVM control scheme (THD = 1.25%).

[image: image11.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-1000

0

1000

Selected signal: 80 cycles. FFT window (in red): 10 cycles

Time (s)

0 500 1000 1500 2000

0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

Frequency (Hz)

Fundamental (50Hz) = 614.6 , THD= 1.25%

Mag (% of Fundamental)


Figure 5. THD of stator current for DVC-2L-SVM control.
[image: image12.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-1000

0

1000

Selected signal: 80 cycles. FFT window (in red): 10 cycles

Time (s)

0 500 1000 1500 2000

0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

Frequency (Hz)

Fundamental (50Hz) = 615 , THD= 0.90%

Mag (% of Fundamental)


Figure 6. THD of stator current for DVC-7L-SVM control.
[image: image13.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

10

x 10

5

Time (s)

Active power Ps(W)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5000

0

5000

10000

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref


Figure 7. Stator active power.

[image: image14.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

10

x 10

5

Time (s)

Active power Ps(W)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5000

0

5000

10000

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref


Figure 8. Stator reactive power.

[image: image15.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

10

x 10

5

Time (s)

Active power Ps(W)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5000

0

5000

10000

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref


Figure 9. Electromagnetic torque power.

[image: image16.emf]0.5 0.52 0.54 0.56 0.58 0.6 0.62 0.64 0.66 0.68

-3.5

-3

-2.5

x 10

5

Time (s)

Active power Ps(W)

 

 

0.99 1 1.01 1.02 1.03 1.04 1.05 1.06 1.07 1.08

2.8

3

3.2

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

1.4 1.42 1.44 1.46 1.48 1.5 1.52 1.54 1.56 1.58 1.6

4500

5000

5500

6000

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref


Figure 10. Zoom in the active power.
[image: image17.emf]0.5 0.52 0.54 0.56 0.58 0.6 0.62 0.64 0.66 0.68

-3.5

-3

-2.5

x 10

5

Time (s)

Active power Ps(W)

 

 

0.99 1 1.01 1.02 1.03 1.04 1.05 1.06 1.07 1.08

2.8

3

3.2

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

1.4 1.42 1.44 1.46 1.48 1.5 1.52 1.54 1.56 1.58 1.6

4500

5000

5500

6000

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref


Figure 11. Zoom in the reactive power.
[image: image18.emf]0.5 0.52 0.54 0.56 0.58 0.6 0.62 0.64 0.66 0.68

-3.5

-3

-2.5

x 10

5

Time (s)

Active power Ps(W)

 

 

0.99 1 1.01 1.02 1.03 1.04 1.05 1.06 1.07 1.08

2.8

3

3.2

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

1.4 1.42 1.44 1.46 1.48 1.5 1.52 1.54 1.56 1.58 1.6

4500

5000

5500

6000

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref


Figure 12. Zoom in the electromagnetic torque.
B.Robustness test (RT)

In this part, the nominal value of the Rr and Rs is multiplied by 2, the values of inductances Ls, M, and Lr are multiplied by 0.5. Simulation results are presented in Figures 13-20. As it’s shown by these figures, these variations present an apparent effect on the electromagnetic torque, stator active and stator reactive powers. However, the effect appears more significant for the DVC-7L-SVM compared to DVC-7L-SVM control scheme (See Figures. 18-20). On the other hand, these results show that the THD value of stator current in the DVC-7L-SVM control has been reduced significantly. Table 4 shows the comparative analysis of THD value. Thus it can be concluded that the DVC-7L-SVM control scheme is more robust than the DVC-2L-SVM control scheme one.
Table 4. Comparative analysis of THD value (RT)
	
	THD (%)

	
	DVC-2L-SVM
	DVC-7L-SVM

	Stator current (Ias)
	2.64
	1.12


[image: image19.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-1000

0

1000

Selected signal: 80 cycles. FFT window (in red): 10 cycles

Time (s)

0 500 1000 1500 2000

0

0.5

1

1.5

2

2.5

Frequency (Hz)

Fundamental (50Hz) = 1104 , THD= 2.64%

Mag (% of Fundamental)


Figure 13. THD of stator current for DVC-2L-SVM control.

[image: image20.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-1000

0

1000

Selected signal: 80 cycles. FFT window (in red): 10 cycles

Time (s)

0 500 1000 1500 2000

0

0.1

0.2

0.3

0.4

0.5

Frequency (Hz)

Fundamental (50Hz) = 1104 , THD= 1.12%

Mag (% of Fundamental)


Figure 14. THD of stator current for DVC-7L-SVM control.

[image: image21.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

10

x 10

5

Time (s)

Active power Ps(W)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5000

0

5000

10000

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)


Figure 15. Stator active power.

[image: image22.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

10

x 10

5

Time (s)

Active power Ps(W)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5000

0

5000

10000

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)


Figure 16. Stator reactive power.

[image: image23.emf]0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

10

x 10

5

Time (s)

Active power Ps(W)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5

0

5

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

0 0.2 0.4 0.6 0.8 1 1.2 1.4 1.6

-5000

0

5000

10000

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)


Figure 17. Electromagnetic torque.

[image: image24.emf]0.85 0.9 0.95 1 1.05 1.1 1.15 1.2

-1

0

1

x 10

5

Time (s)

Active power Ps(W)

 

 

0.25 0.3 0.35 0.4 0.45 0.5 0.55 0.6

-1

-0.5

0

0.5

1

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

0.96 0.98 1 1.02 1.04 1.06 1.08 1.1 1.12 1.14

-500

0

500

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)


Figure 18. Zoom in the active power.

[image: image25.emf]0.85 0.9 0.95 1 1.05 1.1 1.15 1.2

-1

0

1

x 10

5

Time (s)

Active power Ps(W)

 

 

0.25 0.3 0.35 0.4 0.45 0.5 0.55 0.6

-1

-0.5

0

0.5

1

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

0.96 0.98 1 1.02 1.04 1.06 1.08 1.1 1.12 1.14

-500

0

500

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)


Figure 19. Zoom in the reactive power.

[image: image26.emf]0.85 0.9 0.95 1 1.05 1.1 1.15 1.2

-1

0

1

x 10

5

Time (s)

Active power Ps(W)

 

 

0.25 0.3 0.35 0.4 0.45 0.5 0.55 0.6

-1

-0.5

0

0.5

1

x 10

5

Time (s)

Reactive power Qs (VAR)

 

 

0.96 0.98 1 1.02 1.04 1.06 1.08 1.1 1.12 1.14

-500

0

500

Time (s)

Torque Te (N.m)

 

 

Ps (DVC-2L-SVM)

Ps (DVC-7L-SVM)

Psref

Qs (DVC-2L-SVM)

Qs (DVC-7L-SVM)

Qsref

Te (DVC-2L-SVM)

Te (DVC-7L-SVM)


Figure 20. Zoom in the electromagnetic torque.
4. CONCLUSION
This paper presents simulation results of DVC strategy of a DFIG, using the modulation strategy of the seven-level SVM and two-level SVM technique. With results obtained from simulation, it is clear that for the same operation condition, the DFIG reactive and active control with DVC using seven-level SVM had better performance than the two-level SVM technique and that is clear in the spectrum of phase stator current harmonics which the use of the seven-level SVM strategy, it is reduced of harmonics more than two-level SVM strategy.

REFERENCE
[1] H. Benbouhenni,  “ Comparative study between different vector control methods applied to DFIG wind turbines,” Majlesi Journal of Mechatronic Systems, Vol. 7, No. 4, pp. 15-23, 2018.
[2] Z. Boudjema, A. Meroufel, A. Amari, “Robust control of a doubly fed induction generator (DFIG) fed by a direct AC-AC converter,” Przegląd Elektrotechniczny, Vol. 12, No. 12, pp. 213-221, 2012.

[3] P. L. Kamani and M. A. Mulla, “Middle-Level SHE Pulse-Amplitude Modulation for Cascaded Multilevel Inverters,” IEEE Transactions on Industrial Electronics, Vol. 65, No. 3, pp. 2828-2833, 2018.

[4] S. K. Sahoo and T. Bhattacharya, “ Phase-Shifted Carrier-Based Synchronized Sinusoidal PWM Techniques for a Cascaded H-Bridge Multilevel Inverter,” IEEE Transactions on Power Electronics, Vol. 33, No. 1, pp. 513-524, 2018.

[5] B. Kirankumar, Y. V. Siva Reddy and M. Vijayakumar, “Multilevel inverter with space vector modulation: intelligence direct torque control of induction motor,” IET Power Electronics, Vol. 10, No. 10, pp. 1129-1137, 2017.

[6] Z. Du, L. M. Tolbert and J. N. Chiasson, “ Active harmonic elimination for multilevel converters,” IEEE Transactions on Power Electronics, Vol. 21, No. 2, pp. 459-469, 2006.

[7] H. Obdan, M. C. Ozkilic, “Performance Comparison of 2-level and 3-level converters in a wind energy conversion system,” Rev. Roum. Sci. Techn.-Electrotechn. Et Energ, Vol. 61, No. 4, pp. 388-393, 2016.

[8] H. Benbouhenni, “ Fuzzy second order sliding mode controller based on three-level fuzzy space vector modulation of a DFIG for wind energy conversion systems,” Majlesi Journal of Mechatronic Systems, Vol. 7, No. 3, pp.17-26, 2018.
[9] H. Benbouhenni, “ Comparative study between NSVM and FSVM strategy for a DFIG-based wind turbine system controlled by neuro-second order sliding mode,” Majlesi Journal of Mechatronic Systems, Vol. 7, No. 1, pp. 33-43, 2018.
[10] H. Benbouhenni, Z. Boudjema, A. Belaidi, “ DFIG-based wind turbine system using three-level neural space vector modulation technique,” Majlesi Journal of Mechatronic Systems, Vol. 7, No. 2, pp. 35-45, 2018.
[11] H. Benbouhenni, Z. Boudjema, A. Belaidi, “ Using three-level Fuzzy space vector modulation method to improve indirect vector control strategy  of a DFIG based wind energy conversion systems,” International Journal Of Smart Grid, Vol.2, No.3 , pp.155-171, 2018.
[12] H. Benbouhenni, Z. Boudjema, A. Belaidi, “ DFIG-based wind turbine system using four-level FSVM strategy,” Majlesi Journal of Energy Management, Vol. 6, No. 3, 2017.
[13] H. Benbouhenni, Z. Boudjema, A. Belaidi, “ Indirect vector control of a DFIG supplied by a two-level FSVM inverter for wind turbine system,” Majlesi Journal of Electrical Engineering, Vol. 13, No. 1, 2019.
[14] H. Benbouhenni, Z. Boudjema, A. Belaidi, “ Direct vector control of a DFIG supplied by an intelligent SVM inverter for wind turbine system,” Iranian Journal of Electrical and Electronic Engineering, Vol. 15, No. 1, pp-45-55, 2019.
[15] T. Venkatraman, S. Periasany, “Multilevel inverter topology with modified pulse width modulation and reduced switch count,” Acta Polytechnica Hungarica, Vol. 15, No. 2, pp. 141-167, 2018.

[16] A. Thiruvengadam, K. Vdhayakumar, “An enhanced H-bridge multilevel inverter with reduced THD, conduction, and switching losses using sinusoidal tracking algorithm,” Energies, Vol. 81, No. 2, pp. 2-22, 2019.
[17] C. I. Odeh, D. B. N. Nnadi, “ Single-phase 9-level hybridised cascaded multilevel inverter,” IET Power Electronics, Vol. 6, No. 3, pp. 468-477, 2013.

[18] K. K. Gupta, S. Jain, “Topology for multilevel inverters to attain maximum number of levels from given DC sources,” IET Power Electronics, Vol. 5, No. 4, pp. 435-446, 2012.

[19] H. Benbouhenni, Z. Boudjema, A. Belaidi, “A comparative study between four-level NSVM and three-level NSVM technique for a DFIG-based WECSs controlled by indirect vector control,” Carpathian Journal of Electronic and Computer Engineering, Vol. 11, No. 2, pp.13-19, 2018.

[20] H. Benbouhenni, “ Comparative Study between Direct Vector Control and Fuzzy Sliding Mode Controller in Three-Level Space Vector Modulation Inverter of Reactive and Active Power Command of DFIG-Based Wind Turbine Systems,” International Journal Of Smart Grid, Vol. 2, No. 4, pp. 188-196, 2018.
[21] Z. Boudjema, A. Meroufel, Y. Djerriri, E. Bounadja, “Fuzzy sliding mode control of a doubly fed induction generator for wind energy conversion,” Carpathian Journal of Electronic and Computer Engineering, Vol. 6,      No. 2, pp. 7-14, 2013.

[22] M. Adjoudj, M. Abid, A. Aissaoui, Y. Ramdani, H. Bounoua, “Sliding mode control of a doubly fed induction generator for wind turbines,” Rev. Roum. Sci. Techn.-Electrotechn. Et Energ, Vol. 56, No. 1, pp. 15-24, 2011.

[23] H. Benbouhenni, “ Neuro-sconde order sliding mode field oriented control for DFIG based wind turbine,” International Journal Of Smart Grid, Vol. 2, No. 4, pp. 209-217, 2018.
[24] A. Medjber, A. Moualdia, A. Mellit, M. A. Guessoum, “Comparative Study Between Direct And Indirect Vector Control Applied To A Wind Turbine Equipped with a Double-Fed Asynchronous Machine Article,” International Journal of Renewable Energy Research, Vol. 3, No. 1, pp. 88-93, 2013.
BIOGRAPHIES OF AUTHORS 
	

	H. Benbouhenni was born in chlef, Algeria. He is a PhD student in the Departement of electrical engineering at the ENPO-MA, Oran, Algeria. He received a M.A. degree in Automatic and informatique industrial in 2017. His research activities include the application of robust control in the wind turbine power systems.
E-mail: habib0264@gmail.com ; habib_benbouhenni@yahoo.com 


Ps








Qs_ref





Grid





Turbine





Wind





  Sabc





   DC bus





   DFIG





 RSC





Vrd*





Vrq*





abc





d q





Qs














S


V


M





+





-





+





-





Ps_ref





DVC











SSC





Gear box





O





α-β Reference frame





d-q Reference frame





Rotor axis





Stator axis





Iqs





Ids





Is





δ





θsl





θr





θs





Vs





φr





φs





ωs





ωr





q





d





b





a





B





A





α





β








Journal homepage: http://iaescore.com/journals/index.php/IJAPE
IJAPE  Vol. xx, No. xx, Month 20xx:  xx – xx

Comparison  Study Between Seven-Level SVM and Two-Level SVM Strategy in Direct Vector Control of a DFIG-Based Wind Energy Conversion Systems (Habib BENBOUHENNI)


_1614577283.unknown

_1614577285.unknown

_1614577286.unknown

_1614577284.unknown

_1614577282.unknown

_1600055542.unknown

